PermitWright

High-Piled Storage Permit Research Package

Project: [Client project name / site address]

Jurisdiction: [City] — [Fire Dept / Building & Safety division name]

Prepared for: [Engineer name, PE], [Firm]

Prepared by: Uriel Rojas · PermitWright LLC · uriel@permitwright.com

Date: [date]      Package version: v1.0

Researched against the 2025 California Building Standards Code (2025 CFC, effective January 1, 2026) and ASCE 7-22, plus [City] local amendments as of [date].

ENGINEER OF RECORD

PermitWright provides code research and document preparation only. All engineering judgment, design decisions, and responsible charge remain with the licensed engineer of record.

# PROJECT INTAKE SNAPSHOT

The five-minute email answers, restated so the engineer confirms scope at a glance.

- Site address & jurisdiction: [address] — [jurisdiction]

- Building: [type of construction] · sprinklered? [yes/no — system type/density if known] · total building area [X sf]

- Storage: [max storage height X ft] · [aisle widths X ft] · [rack / floor-pile / shelf]

- Commodities: [what's stored] · packaging [cartoned / exposed / encapsulated / pallets — wood/plastic]

- HPS area: [X sf of high-piled storage area(s)]

- Existing permits / prior HPS approvals: [none known / list]

# SECTION 1 — AHJ SUBMITTAL CHECKLIST

What [City] actually requires to accept the application. Sourced from the AHJ's published HPS submittal guideline, permit portal, and plan-review bulletins.

- Governing authority & filing: [fire dept vs. building dept; portal name / link]

- Required documents: [application form #, site plan, floor plan showing HPS areas, rack elevations, commodity letter, sprinkler calcs / TI reference, …]

- Plan format requirements: [scale, sheet size, digital submittal specs]

- Fees & review timeline (as published): [fees] · [timeline]

- Local quirks: [reviewer preferences, common correction letters, local amendments to Ch. 32, unwritten expectations — from bulletins, correction-letter patterns, and portal notes]

- AHJ contact: [plan-review counter phone / email]

# SECTION 2 — APPLICABLE 2025 CFC CHAPTER 32 SECTIONS

The specific provisions this project triggers — cited, quoted where short, and mapped to the project. Not a Chapter 32 dump; only what applies, with why.

| Section § | Requirement (plain-English summary) | How it applies to this project | Notes / local amendment |
| --- | --- | --- | --- |
| §3201 / §3202 | Scope & definitions | [How this project falls within HPS scope] | [ ] |
| §3203 | Commodity classification basis | [Cross-reference Section 3 — proposed classification] | [ ] |
| Table 3206.2 | Governing protection row (commodity class × HPS area) | [Governing row and the requirements it imposes] | [ ] |
| §3206.10 | Aisles | [Project aisle widths vs. requirement] | [ ] |
| [§3207–§3209] | [Storage configuration — piles / racks, as applicable] | [ ] | [ ] |
| [§ ] | [Smoke removal / FD access / hose connections, if triggered] | [ ] | [ ] |
| [§ ] | [ ] | [ ] | [ ] |

[EOR: Anything ambiguous is marked for engineer judgment rather than resolved by PermitWright.]

# SECTION 3 — COMMODITY CLASSIFICATION WORKSHEET

Prepared classification for the engineer to review and adopt or adjust.

| Product | Packaging | Pallet type | Proposed class (I–IV / High-Hazard / Group A %) | Basis (CFC §3203 / NFPA 13 ref) |
| --- | --- | --- | --- | --- |
| [ ] | [ ] | [ ] | [ ] | [ ] |
| [ ] | [ ] | [ ] | [ ] | [ ] |
| [ ] | [ ] | [ ] | [ ] | [ ] |
| [ ] | [ ] | [ ] | [ ] | [ ] |

Governing (worst-case) commodity determination: [class + why]

Mixed-commodity notes: [if applicable]

Classification proposed for EOR review — final determination is the engineer's.

# SECTION 4 — STORAGE HEIGHT & AREA TRIGGER ANALYSIS

Which thresholds this project crosses and what each crossing requires.

Key numbers: storage height [X ft] · HPS area [X sf] · commodity class [from Section 3]

| Threshold | This project | Crossed? | Consequence (permit scope · protection · documents) |
| --- | --- | --- | --- |
| Storage height > 12 ft (HPS trigger; > 6 ft high-hazard) | [X ft] | [Yes/No] | [ ] |
| HPS area ≥ 500 sf | [X sf] | [Yes/No] | [ ] |
| HPS area > 2,500 sf | [X sf] | [Yes/No] | [ ] |
| HPS area > 12,000 sf | [X sf] | [Yes/No] | [ ] |
| HPS area > 500,000 sf | [X sf] | [Yes/No] | [ ] |
| Sprinkler design implications | — | — | [EOR: flagged for the engineer of record / fire protection engineer — not designed by PermitWright] |
| [Additional threshold] | [ ] | [ ] | [ ] |

Summary: [One-paragraph plain-English summary: “This project is a [class] / [area] HPS application requiring [scope].”]

# SECTION 5 — DRAFT PERMIT NARRATIVE

Formatted to [City]'s conventions, written to be adapted, finalized, and stamped by the engineer of record.

## Project Description

[Project description paragraph — site, building, proposed storage operation]

## Code Analysis Summary

[Pulls Sections 2–4 into the AHJ's expected narrative structure]

[EOR: confirm the analysis reflects your independent review before adoption]

## Commodity & Storage Configuration Statement

[Commodity classes, storage arrangement, heights, aisles]

## Protection Summary

[Existing / proposed systems — referencing, not performing, the engineering]

[EOR: protection design statements require engineer/fire-protection-engineer input]

## Engineer of Record — Information & Stamp

Engineer: [name, PE]      License: [number]

Firm: [firm]      Date: [date]

Signature: _______________________________

STAMP

# SOURCES & VERSION

Every source cited — code sections (with edition), AHJ documents (with retrieval date and URL), portal references.

- [Code sections cited, with edition]

- [AHJ document — title, retrieval date, URL]

- [Portal reference — record type / examples, retrieval date]

Current as of: [date]

| Version | Date | Description |
| --- | --- | --- |
| v1.0 | [date] | Initial issue |
| [ ] | [ ] | [ ] |